[image: image1.jpg]




Community Noise Gathering Initiative

AfSAP is empowering local citizenry to gather valid scientific noise data for their communities. Technically speaking, you are helping your community build single-event supplementary metrics. 

This program’s methodology is based on Cornell University’s successful Ornithology program. These instructions will help guide residents to accurately record noise events and report them in a useful way.

Obtaining Accurate Data

The FAA's 65 DNL masks repetitive single-event intrusions. The FAA should provide communities with supplemental noise event metrics as the Australian Government has done.  Communities however can begin gathering this data by investing in inexpensive Noise Measuring equipment and recording through the day and night.

Directions:

Measure the Peak Noise (Lmax) both inside and outside your home during the noise event. Follow this with a measurement of background ambience in dBA, at the same quiet hour, both inside and outside. 

Also, if you were similarly able to measure, over some period of time, the Number of Events Per Hour that, say, night-time, jet noise exceeds some given threshold in dBA, (whether from inside or outside) you have another interesting metric. 

Recent medical evidence suggests that that Number Above 35dBA raises blood pressure in sleeping individuals, and so poses a public health threat. 

Information provided by a Dick Hingson, a Harvard Scientist on Sierra Club’s National Parks and Monuments Committee 

Hand-Held Sound Level Meters 

Professional sound level meters can be purchased through scientific instrument retailers. They must meet the following minimum Specifications in order to produce valid results. 
Minimum Specifications :

Certified Calibrated NIST Meter

NIST Certificate

ANSI S1.4 Type II and IEC 651 standards
Lo=32 ~ 80dB;

Med=50 ~ 100dB;

Hi=80 ~ 130dB

Accuracy: ±1.5dB (ref 94dB @ 1KHz)
[image: image5.jpg]ALLIANCE
SENSIBLE AIRSPACE
PLANNING




[image: image2.jpg]


[image: image3.jpg]


[image: image4.png]| e
4 WLME =]
b

{ll




Select Online Retailers: (AfSAP has no relationship with these retailers)

SoundLevelMeters.net

http://www.soundlevelmeters.net/digital-sound-level-meters/q1325.shtml

Professional Equipment  ($499)

http://www.professionalequipment.com/extech-sound-level-meter-w-data-logging-hd600/digital-sound-level-meters/

Legal Requirements : The legal requirements for the type of meter will vary from county to county, city to city, and state to state. Check with your local city/county police to obtain the regulations regarding noise pollution and any requirements needed to prove these are being violated. If it goes to court, it is most likely that a NIST meter will be required.
TAKING VALID NOISE MEASUREMENTS

1.) Set up your calibrated instrument.

2.) Take Measurement during a High Noise Event

a. Measure the Peak Noise (Lmax) inside your Home

b. Measure the Peak Noise (Lmax) outside your Home 

3.) Take Measurement During Normal Ambient Noise 

a. Measure background ambience in dBA inside your Home 

b. Measure background ambience in dBA outside your Home 

4.) Record your measurements, Date, Time, Hour, Minute

Logging Data 

Some Noise meters include ‘data logging’ which can save up to 20,000 noise events. This is easier and a preferable method. You can then download the data to your computer with proprietary Software. This saves the extra steps in having to manually record the data in an excel file as noted here: 

Noise Log example

	Date
	Time
	Location
	dBA
	LMax
	Event

	9/23/08
	5:02 AM
	Bedroom
	4.01
	41.0
	 Noisy plane- Jumbo Jet from the South

	9/23/08
	5:16 AM
	Living Room
	4.20
	23.2
	Air Tran traveling northeast

	9/23/08
	5:48 AM
	Back yard
	9.2
	68.0
	Passur- to LGA Jet Blue tail #sw-zrct 

	9/23/08
	6:49 AM
	Upstairs bedroom
	4.01
	57.5
	LGA Am-235y (passur) alt. 1500 ft.

	
	
	
	
	
	


AVIATION NOISE EVENT LOG

NAME:

ADDRESS:

CONTACT #:

EMAIL:




Email completed forms to your local town representative and copy to wolf@afsap.org

	DATE
	TIME
	Location
	Ambient

dBA
	Hi- Noise

LMAX 
	NOTES

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


Safe Skies. Safe Communities.
SensibleAirspace.org


